## metadata_key
key | description
date | Date the measurement was acquired (yyyy-mm-dd)
start_time | When spectrometer measurements began. Not recorded for all sites. All times in Mountain Standard Time: UTC - 07:00
end_time | When spectrometer measurements concluded. Not recorded for all sites. All times in Mountain Standard Time: UTC - 07:00
collector | First and last name of person operating the ASD
instrument | PINK or TEAL according to which instrument was used to collect the spectral data
sampling_area | Six-letter code for the area where the measurements were acquired
site_number | Four-digit number corresponding to a unique 1mx1m meadow sample site. Zeros indicate locations outside the CHESS vegetation team's sample sites.
asd_mode | Confiiguration of the ASD FieldSpec4. PRX= proximal w/ 8 degree FOV foreoptic; CP= contact probe; LC= leaf clip
sample_type | Short description of the target surface. WR = white reference; BR= black reference; plot=measurements of a 1mx1m sample site (mixed surfaces); bad=bad quality measurement, do not use; PV=photosynthetic vegetation; NPV=non-photosynthetic vegetation; misc=miscellaneous; cal_val=calibration or validation.
species | Species (if known) for PV, NPV, and flower samples
asd_filenumber | number at the end of the asd filepath. EX: "10" corresponds to the asd file "/{asd_basename}_00010.asd"
asd_basename | ASD file basename, not including file number
notes | field notes recorded at the time the measurement was acquired

## dataset_description
This dataset provides endmember spectra collected during the 2025 CHESS campaign. All measurements were acquired with an ASD FieldSpec4 Hi-Res NG spectrometer, which records radiance at 1nm intervals from 350-2500 nm. Spectral data were collected with the contact probe attachment. Radiance measurements were pre-processed to derive the reflectance spectra in this dataset. Endmember spectra are labeled by date and location. For endmember spectra measured at meadow sites where the CHESS team collected vegetation samples for trait analyses, the sampling area is indicated by a four letter code, e.g. 'CRBU', and site number, e.g. 1115. All associated datasets from the CHESS campaign are publicly accessible on ESS-DIVE at: https://data.ess-dive.lbl.gov/portals/chess/Data